## Slide 1
Napkövetés

## Slide 2: Napenergia
oil
coal
gas
nuclear power
hydroelectricity
biomass (traditional)
biomass (advanced)
solar power (PV and solar thermal generation)
solar thermal (heat only)
other renewables
geothermal
wind energy
Source: German Advisory Council on Global Change, 2003, www.wbgu.de
year
2000
2020
2040
200
600
1000
1400
2100
EJ/a
1,100,000,000 TWH évente
Az évente a földre érkező napenergia 0,02 % fedezi a globális energiaigényt

## Slide 3: Beérkező Napsugárzás

## Slide 4: Óránkénti benapozottság

## Slide 5: Miért jó a forgatás?
A beérkező teljesítmény erősen függ a beesési szögtől
A napelemforgatás nem teljesen új ötlet:

## Slide 6: A nap pályája

## Slide 7: Nappályák Magyarországon

## Slide 8: Forgatással nyerhető többlet
37 %
Notes: If we want to use solar cells for energy harvesting, we have to know the basic behaviours of solar cells. A key factor of the energy conversion is the irradiated power, because we can only use the energy that gets to the solar cells. It is evident, that, when we put a solar cell into the shadow, it will produce only little energy. But the energy produced by the solar cell is also decreased, when the incident rays are not perpendicular to the surface.
If the light is not perpendicular to the surface, the intensity of the surface is reduced by a factor sinuszdelta,where delta is the angle beetween the rays and the surface. The current depends strongly on the light intensity, so this is also reduced and therefore the power to. The decrease of the current can be seen in the top figure on the right side (itt a szöget a felület merőlegeséhez képest nézi).
So the idea of solar tracking is, to position the solar cells always perpendicular to the sunrays. This idea is not new, and the nature invented the solar tracking long before the discovery of solar cells.
We made som calculations about energy gain, that could be reached with solar tracking. The data we used, was collected autumn 2005. On the figure in the right bottom of the slide the green curve shows the irradiation on a surface which is directed south, in angle of 45° to the ground. The blue curve shows the case of a rotated and always optimally (perpendiculaar) positioned surface. The difference can be seen. We show here the gain in the intensity, because the different kinds of solar cells react diiferently to the changes in the angle of incidence.
We also calculated the power gains for a certain solar cell, which is a commonly used crystalline solar cell, and we came to the conclusion, that the power gain would be about 37 %.

## Slide 9: Forgatás fajtái
Egy- vagy Kéttengelyes
Passzív vagy Aktív
Intenzitásvezérelt
Idővezérelt
Termikus kiegyenlítődés
Notes: Solar tracking can be categorized on more aspects. First we can distinguish upon the type of displacement, which can be performed on one or two axis. Using one axis tracking, with right angle of the rotation axis the ecliptic of the sun can be followed perfectly, but the changes in the ecliptic during the year cannot be taken into account. The two axis tracking enables to follow the seasonally changes in the ecliptic, too.
The other type of categorization is upon the control mechanism. Generally the types of control mechanism are divided in two larger groups, the passive and the active control. Active control we call everything, where the movement is performed after eveluating the data of sensors, and passive is when there are no sensors, and the system uses some physical effects directly to perform the movement (This is mostly the different heating up under different angles of two containers with liquid, and so the thermal gradient drives the motion.)
We decided to use active control, because this can be monitored easier, and the electric implementation is easier too.
The active control has also two subtypes, the first is the time-control, where the „sensor” is a clock, that means the position of the sun is calculated from the date and time.
The other method is the intensity control, where the tracker realy tracks the skies, searching for the brightest point.

## Slide 10: Passzív vagy aktív?
?

## Slide 11: Néhány forgató

## Slide 12: Napkövetés alkalmazása
Napkollektorok és napelemek energiatermelésének növelése
Fénykoncentrálás (parabola tükör, heliosztát)
Világítás (heliosztát)

## Slide 13: Napkövetés többlethozama

## Slide 15: Tárolási kapacitás befolyásolása
Napkövetéssel a rendszerek energiatárolási kapacitás csökkenthető

## Slide 16: Optimális munkapont követés
Intenzitással változik a munkapont
DC/DC konverter

## Slide 17: A Traxle napkövető rendszer

## Slide 18: Deger Tracker

## Slide 19: Heliotrex napelemkövető
Notes: According to our plans the first prototype will be ready for operation at the end of this summer. The electronics are ready and mostly tested, except the communication module with the radio interface, which is still under design.
For this first first prototype we disregarded from our requirement of scaleability in the mechanics. We decided use a steel tube instead of the three leg construction, because this device is only for testing, and is much more smaller than the planned trackers (max. 200 W solar cells), and we thinkin this sizes tracking is not economical.
This device will be used to test the electonics under sharp conditions, to find the optimal tracking algorhythm (less consumption), and to perform long term measurement. The last point is very important to prove our statement, that solar tracking is an option in renewable energy production, because no long term measurement are known yet.

## Slide 20: Napelemkövető rendszer vezérlése